AUDITOR NAME: _____________________________________      AUDIT DATE: _____________

LOCATION/UNIT: _____________________________________

| Element Assessed | Response | Notes |
| --- | --- | --- |
| Employee Competency and Resources |  |  |
| - Are there dedicated staff for reprocessing of scopes? | Yes No |  |
| - Did you receive training to perform reprocessing of endoscopes at the time you were hired or before reprocessing the first time? | Yes No |  |
| - Have you received training specific to each of the scopes you reprocess? Note: Indicate types of scopes used. | Yes No |  |
| 4. What does the annual competency for individuals reprocessing scopes include? (Check all that apply) | All scopes with return demonstration One scope with return demonstration Vendor specific training (Listen and learn) General training by facility staff Other, specify |  |

| 5. Instructions for use and procedures for each device are readily available to employees performing reprocessing. Note: If unable to observe indicate reason. | Yes No Unable to observe |  |
| --- | --- | --- |
| Endoscope Cleaning and Disinfection Process |  |  |
| - Pre-cleaning is done per the manufacturer’s instructions. (e.g. immediately, at bedside/procedure site) | Yes No Unable to observe |  |
| - Transport of the endoscope is done in a manner that prevents contamination and according to the manufacturer’s instructions. | Yes No Unable to observe |  |
| - Cleaners and disinfectants (stock bottles) are within use-by dates. | Yes No |  |
| 9. Employee(s) correctly uses personal protective equipment (PPE). | Yes No |  |
| - Supplies used for reprocessing are consistent with the manufacturer’s instructions (e.g. cleaning brushes are appropriate size and type for each channel). | Yes No |  |
| 11. Leak testing is performed according to the manufacturer’s instructions. | Yes No |  |
| 12. Detergents are used according to the manufacturer’s instructions (e.g. detergent is used only once, the concentration is correct, there is no topping off). | Yes No |  |
| 13. Manual cleaning is performed according to the manufacturer’s instructions (e.g. brushing, full immersion). | Yes No |  |
| 14. The high level disinfection (HLD) process is completed according to both the disinfectant and scope manufacturer instructions regarding temperature, contact time, and reuse (e.g. properly stored, used before use-by date, reuse consistent with FDA medical device guidance, no topping off). | Yes No |  |
| 15. The automated endoscope reprocessor (AER) is validated for the specific scope being reprocessed. | Yes No NA (Manual only) |  |
| 16. The endoscope was rinsed according to all manufacturers’ instructions (endoscope, AER, and disinfectant instructions). | Yes No |  |
| 17. All channels were flushed with 70-90% alcohol? | Yes No |  |
| 18. All channels were purged with forced air? | Yes No |  |
| 19. Is the scope being stored (not immediately reused)? | Yes No |  |

| 20. Endoscopes were stored appropriately (e.g. hung vertically, distal tip hanging freely, in a well-ventilated area, in a manner that will keep them dust free). | Yes No |  |
| --- | --- | --- |
| 21. Reusable ancillary equipment (valves, forceps, snares) used with the endoscope is properly cleaned/disinfected, rinsed, dried, and stored with the scope. NOTE: Answer no if all steps are not compliant. | Yes No NA, disposable |  |
| 22. Documentation of high level disinfectant use is maintained and up to date (e.g. test strip use, right concentration, right temperature, right time, and according to the manufacturer’s instructions). | Yes No |  |
| 23. There is appropriate documentation of endoscope reprocessing (e.g. scopes labeled, personnel who performed the reprocessing, patient name/medical record number with specific scope used for the procedure). | Yes No |  |